## Qüestionari previ Lot 2
Qüestionari per a la obtenció de necesitats del servei gestionat de còpies de seguretat
Situació actual
Programari actual de backup (si en disposa)
Volen continuar amb la mateixa solució? |  | Sí / No
Espai utilitzat per les seves còpies (en TB)
Existència d'un segon CPD |  | Sí / No
Característiques de l'entorn
Quantitat d'equips (sobretaules o portàtils) per fer còpies de seguretat
Espai utilitzat (en TB) pels seus sistemes susceptibles de tenir còpia de seguretat?
Sobre quin sistema operatiu treballen actualment als seus sistemes?
Té alguna aplicació específica de negoci a incloure a la còpia de seguretat (M365, Oracle, SAP, Exchange, SQL…)?
En cas de tenir màquines virtuals, indiqui l'hipervisor utilitzat (Vmware, Hyper-V, Citrix…)?
Té cap sistema que no sigui Intel/AMD/x86 (UNIX, AIX, Sun Solaris…)?
Emmagatzematge
Disposa d'emmagatzematge al seu CPD del que fer còpia de seguretat? |  |  | Sí/No
Tipus d'emmagatzemament del que disposa (NAS, SAN, disc extern, discos locals al servidor, NetApp, EMC, HP, unitats de cinta…)
Disposa d'espai al rack per a un servidor de còpies (2U) i connectivitat 10Gb Ethernet? |  |  | Sí/No
Segona còpia al núvol
Destija disposar d'una segona còpia al núvol |  |  | Sí/No
Indiqui l'amplada de banda disponible a la seva connexió a Internet (en Mbps o Gbps)

## LUT (hidden)
Facilities Reqs
| Device Family | Rack Units | Weight (lbs) | Weight (kg) | PDU | Cables | Power | Cooling | SAS1 | SAS2 | Shelf
| Lenovo 650 | 2 | 76 | 34.5 | 2 | 2 | 450 | 1480 | 1 | 0
| Lenovo 590 | 2 | 76 | 34.5 | 2 | 2 | 500 | 1640 | 1 | 0
| Lenovo xSeries3250 | 1 | 76 | 34.5 | 2 | 2 | 500 | 1640 | 0 | 1
none
| Select Option |  | Ready? Select Option | Select One | Select One |  | Key |  | Color
| Yes |  | Yes, ready now | No | Array Fabric A |  |  | Automatically Calculated | (Green)
| No |  | Will have by date | Yes | Array Fabric B |  |  | Input | (Blue)
| Unknown |  | Unknown/ researching |  | Array Fabric C |  |  | Customer Input | (White/Grey)
|  |  | No, no plans |  | Array Fabric D |  | Use for later documentation |  | (Orange)
Array Fabric E
Array Fabric F
| Select Option |  | Select Option | Select Option | Select Option |  | Select Option |  | Select Topology |  | Select Power Cable Type
| Data |  | iSCSI | None | 1500 |  | 110V AC |  | Single Fabric |  | Standard (NEMA 5-15-P)
| Management |  | Group | Single | 9000 |  | 208V (Single phase AC) |  | Dual Fabric |  | Hooded (C13/C14)
| Data & Management |  | iSCSI & Group | Bisect |  |  |  |  | 2x Dual Fabrics
|  |  |  | Even/Odd |  |  |  |  | 3x Dual Fabrics
Other
| Pick on |  | Select Option |  | Select One |  | Select One |  | Select Topology
| 100 Mbs |  | Base-T |  | RJ45/ 1Gb |  | Mgmt |  | Single Network
| 1Gbs |  | SFP+ |  | RJ45/ 10Gb |  | Mgmt/Data |  | Mgmt + 1 Data NW
| 10Gbs |  |  |  | SFP+/ 10Gb |  | Data |  | Mgmt + 2 Data NW (Dual Fabric)
| 40Gbs |  |  |  | Twin-Ax/10Gb |  |  |  | Other